## Slide 1: FLUORODOPA (18F) (PREPARED BY NUCLEOPHILIC SUBSTITUTION) INJECTION Fluorodopae (18F) ab nucleophila substitutione solutio iniectabilis
(2S)-2-amino-3-(2-[18F]fluoro-4,5-dihydroxyphenyl)propanoic acid (6-[18F]fluorolevodopa)
or FDOPA
Dopaview, AAA
Notes: dopaminergic nerve terminals in the striatum for the evaluation of adult patients with suspected Parkinsonian syndromes and Neuroendocrine tumors.
As the d-isomer of 6-[18F]FDOPA presents a lower affinity for blood-brain barrier amino acid transporters, enantiomeric purity is of great importance for PET imaging. Ideally, only the L-form should be synthesized

## Slide 2: Definition, preparation, properties
Sterile solution of 6-[18F]fluorolevodopa produced by nucleophilic substitution.
It may contain ascorbic acid or other stabilisers.
Clear, colourless solution.
For diagnostic use.
  Parkinsonian syndromes
  Neuroendocrine tumors
Cassette-based synthesis (for example, Trasis AllinOne).

## Slide 3: Identification
Gamma-ray spectrometry (0.511 MeV photons and 1022 MeV sum peak).
T1/2 (105 - 115 min )
Chromatograms from RCP and enantiomeric purity.

## Slide 4: Tests
Spot test:
Limit:
– the central portion of the spot due to the test solution is not more intense than that of the spot due to reference
solution (2.2 mg/V).
OR
Liquid chromotography:
Limit:
– impurity B: not more than the area of the corresponding peak in the chromatogram obtained with reference solution (2.6 mg/V).

## Slide 5: Tests
6-Fluorolevodopa and related substances:
  Concentration of 6-fluorolevodopa ≤ 0.1 mg/V
  Content of impurity E (6-OH-D,L-dopa) ≤ 0.05 mg/V
  Any other impurity ≤ 0.1 mg/V
  Sum of 6-fluorolevodopa and chemical impurities ≤ 0.5 mg/V
6-fluoro-L-dopa

## Slide 6: Tests
Other detectable impurities

## Slide 7: Tests
Radiochemical purity
  TLC: maximum 5% of the total radioactivity due to fluorine-18.
  HPLC: 6-[18F]fluoro-L-dopa - minimum 95% of the total radioactivity due to fluorine-18.
Enantiomeric purity
  6-[18F]fluoro-L-dopa: minimum 96% of the total radioactivity.
  6-[18F]fluoro-D-dopa: maximum 4% of the total radioactivity.
6-[18F]fluoro-L-dopa
Notes: As the d-isomer of 6-[18F]FDOPA presents a lower affinity for blood-brain barrier amino acid transporters, enantiomeric purity is of great importance for PET imaging. Ideally, only the L-form should be synthesized

## Slide 8: Tests
Radionuclide purity: Fluorine-18 - minimum 99.9% of the total radioactivity.
pH: 4.0 – 5.5.
Ethanol: maximum 10% V/V and maximum 2.5 g per administration. (Or as residual solvent).
Residual solvents: for example, methanol, dichloromethane, DMF, ethanol. Examined by GC.
Sterility: It complies with the test for sterility prescribed in the monograph Radiopharmaceutical preparations (0125), release for use before completion.
Bacterial endotoxins: 175/V IU/mL, release before completion of the test.
Notes: Sterility: Fliter integrity test, aseptic production, sterile filtration
Radionuclide purity and identity, shelf life – only during validation. Sterility, bacterial endotoxins and residual solvents during validation and QC.
Residual solvents: DMF ≤ 880 ug/ml; MeOH ≤ 3000 ug/ml; dichloromethane ≤ 600 ug/ml; EtOH ≤ 5000 ug/ml.
pH: within physiologically acceptable pH, FDOPA stability (no oxidation and degradation), compatibility with formulation (ascorbic acid..).

## Slide 9: Storage
Shelf-life: determined based on the results of the stability testing over a certain time period.
Store in a lead shielded container.
Labeling:
Name, Activity, date/time, Producer… ev. Leaflet if for others according to PE 125 (the route of administration, V, production route, concentration of ethanol or other additives, preservatives, storage condition, expirery time…)

## Slide 10: Thank you!